## Mechanics
No. | Name | Status
M1 | Crystal Structure - Salt | Ping-pong balls availalble but loose "not stacked together"
M2 | Crystal Structure - Carbon
M10 | Gravitational Acceleartion | Missing component "not sure how it works"
M11 | Guinea and Feather
M12 | Gun That Never Misses
M13 | Pop and Drop
M14 | Rolling Cart Catches Ball
M15 | Centre of Mass
M16 | Principle of Moments
M17 | Centre of Gravity
M18 | Plunger
M19 | Double Cone
M20 | Inertial Reference Frame
M21 | Ball Falling into Cup
M22 | Slinky
M23 | Falling Chimney
M30 | Inertia
M40 | Parallelogram of Forces
M41 | Resultant of Vectors in 3D | Unclear "no image"
M42 | Components of Forces
M43 | Aeroplane on a String | The aeroplane is broken
M44 | Tangential Motion
M46 | Spheres of Inclined Plane
M47 | Stability of a Ladder
M48 | Roller on Inclined Plane | Missing components "two mass pieces"
M49 | Loaded Block on Inclined Plane
M50 | Block on Inclined Plane
M60 | Varying Tension in String | Unclear "no image"
M61 | Pulley System | Untraceable
M62 | Resolution of Forces - Inclined Plane
M66 | Differential Pulley
M67 | Screwjack
M68 | Equal Masses on Double Pulley
M69 | Adjustable Pulley
M80 | Trolleys
M81 | Newton's Craddle
M82 | Small Newton's Craddle
M83 | Balls on Rails
M84 | Inelastic Collisions
M85 | Conservation of Momentum | Unclear "no image"
M86 | Elastic and Inelastic Collisions
M87 | Superballs | No longer available "get new ones"
M88 | Conservation of Momentum | Unclear "no image"
M89 | Air Track | Untraceable
M90 | Rocket and Block | Missing component "rubber rocket"
M91 | Air Table | 2 b photographed
M92 | Water Rocket | Potentially broken "not sure how it works" probably fixable
M93 | Balls on Track
M100 | Attwood's Machine
M101 | Crowbar
M102 | Rotational Motion
M103 | Conservation of Momentum: Jet Propulsion | Potentially broken "not sure how it works"
M104 | Centrifugal Force | No longer available
M105 | Rotating Candles | Broken belt
M106 | Large Gyroscope | "not sure if it still works"
M108 | Angular Momentum
M109 | Little Gyroscopes | Unclear "probably unavailable"
M110 | Rotational Motion | Unclear "no image"
M114 | Celts | Unclear "probably unavailable"
M120 | Hook's Law
M121 | Elastic Limit | Assembled using elastic rubber bands
M122 | Torsion and Modulus of Rigidity
M130 | Harmonic Motion | Missing components "remaining motor probably broken - needs to be verified"
M131 | Cantilever Oscillations
M132 | Ball on a String
M133 | Oscillating Ball on Slope
M140 | Simple Pendulum
M141 | Period of Oscillation | Broken "missing one of the four masses"
M142 | Whirligig Pendulum
M143 | Galileo's Pendulum | Unavailable
M144 | Ballistic Pendulum
M145 | Probabalistic Pendulum
M146 | Ring Pendulum
M147 | Different Length Pendulum
M148 | Oscillating Lamina
M149 | Double Pendulum
M150 | Two Rod Pendulum
M151 | Giant Pendulum
M160 | Single Wilberforce Pendulum
M161 | Adjustable Wilberforce Pendulum
M162 | Simple Coupled Oscillator
M163 | Oscillators Coupled by Mass
M164 | Oscillators Coupled by Rod | Broken components "two springs"
M165 | Oscillators Coupled by Bar
M166 | Pair of Wilberforce Pendulums | Broken components "two springs"
M170 | Resonance
M171 | Resonance Oscillations | Unavailable
M180 | Chemical Balance | Unclear "probably unavailable"
M181 | Large Vernier Caliper | Unclear "probably unavailable"
M182 | Large Slide Rule | Unclear "probably unavailable"
M183 | Model of a Vernier Scale
M184 | Mocrometer Screwgauge
M185 | Spherometer
M186 | Vector Arrows

## EM
No. | Name | Status
EM1 | Galvanometer
EM2 | Audio Oscillator
EM3 | Variac | Not clear "possibly unavailable"
EM21 | Charging By Induction | Not available
EM22 | Faraday's Ice Pail | Not available
EM23 | Charge On concentric Shells | Not available
EM24 | Charge On Irregular Shapes | Not available
EM25 | Charging By Induction 2 | Not available
EM26 | Van der Graaf Generators
EM27 | Box of Electrostatic Demos
EM28 | Capacitance | Not available
EM29 | Capacitor With Dielectric | Not available
EM30 | Capacitor With Ball | Broken "Whimhurst machine" missing components
EM31 | Spark Gaps | Not clear
EM32 | Variable Capacitors
EM33 | Kelvin Current Balance | Not available
EM34 | The Electrostatic Field | Broken "Whimhurst machine" missing components
EM35 | The Electrophorous | Not clear "no image"
EM36 | Triboelectricity
EM37 | Swinging Pith Ball | Not available
EM38 | Proof Planes | Not clear "no image"
EM39 | Gold Leaf Electroscopes
EM40 | Whimshurst Machines | Broken "Whimhurst machine"
EM51 | Resistance
EM55 | Back EMF Of Motor | Not clear
EM57 | Time-Dependant Currents | Not clear
EM60 | Time Constant | Not clear "possibly unavailable"
EM61 | Variable Capacitor | Not clear "possibly unavailable"
EM62 | Giant Capacitor
EM63 | 1 Farad Capacitor
EM64 | Capacitor In A Glass | Not clear "possibly unavailable"
EM65 | Canned Capacitors
EM66 | Box Of Capacitors
EM93 | Alternating Currents | Not available
EM94 | Tesla Coil | Not available
EM96 | LR Circuit | Not available
EM97 | Self-Inductance
EM98 | Electrical Beats | Not clear
EM100 | Resonance | Not clear
EM121 | Step-Up Transformer
EM125 | Parallel Currents
EM126 | Step-Down Transformer
EM127 | Bulbs Light Via Inductance
EM128 | Induction In A Coil
EM129 | Self-Inductor
EM130 | Magnetic Breaking
EM131 | Induction: Coil-to-Coil
EM132 | Induction: Spinning Magnet
EM133 | Earth Inductors | Missing component
EM141 | Galvanometer | Not available
EM142 | Magnetic Field In Loop | Broken "loop" missing component
EM143 | Lodestone
EM144 | North And South Poles
EM145 | Mahomet's Coffin | Broken magnets "strong bar magnets required"
EM146 | Mahomet's Coffin - Rings
EM147 | Magnetic Field - Bar
EM148 | Induced Magnetisation | Not available
EM149 | Magnetic Field - Current
EM150 | Sticks
EM151 | Oersted's Experiment | Not available
EM152 | Force On Moving Charge
EM153 | Faraday's Cage
EM155 | Hysteresis | Not available
EM156 | Curie Temperature
EM157 | Magnetic Field - Disc
EM170 | Cathode Ray Tubes
EM171 | Thermionics: Diodes - Rectification | Not clear
EM172 | Discharge Tubes | Not clear
EM173 | Positive Rays | Not clear

## Thermodynamics and Matter
No. | Name | Status
H1 | Thermal Expansion | Not in good shape / not sure if it still works
H2 | Contraction on Cooling | Not in good shape / not sure if it still works
H3 | Varying thermal expansion | Not clear how it works or if it works
H6 | Thermal Expansion of Liquids | Not working
H7 | Thermal Expansion
H8 | Thermal Expansion | Not clear - possibly broken
H12 | Regelation of Ice
H15 | Cooling by Evaporation
H17 | Vapour pressure | Broken
H18
H20 | Cloud Chamber | Not available
H21 | Dippy Dillies
H24 | Critical Point of C02
H25 | Hygrometers | Broken
H31 | Thermal Conductivity | Not available
H32 | Thermal Conductivity | Not available
H33 | Convection | Not available
H36 | Radiation | Missing components
H37 | Heat Absorption | Not available
H38 | Radiation | Not available
H39 | Radiation | Not available
H42 | Radiometer
H45 | Thermocouple | Missing components
H46 | Radiation: Diathermancy
H47 | Indicators of Temperature
H48 | Berthelot Apparatus | Not available
H49 | Bunsen Ice Calorimeter | Not available
H50 | Heat Engines
H51 | Strain: Bologne Phials | Not clear
H52 | Portable De-ioniser | Broken components
HY1 | Upthrust on Floating Body
HY2 | Liquid Levels
HY5 | Fluid Pressure
HY6 | Hydrostatic Paradox: Pascal’s Vases | Broken components
HY7 | Archimedes’ principle
HY8 | Upthrust | Not sure how it works
HY10 | Buoys
HY11 | Cartesian Diver
HY12 | Vortex Action
HD4 | Torricelli�s Law of Efflux | Not available
HD5 | Relaxation Oscillations | Not available
HD6 | Buoyancy - Shape | Broken - Dull
AP1 | Magdeberg Hemispheres
AP3 | Pressure gauges | Not available
AP4 | Air Weighing | Not available
AP7 | The Bernoulli Effect | Not available
AP10 | Manometer | Not available
AP11 | Bell Jars
AP12 | Hand Pump
AP13 | Glass Syringes
AD1 | Bellows and Blower
AD2 | Venturi
AD6 | Pumps
S1 | Propagation Needs a Medium | Not clear if it works
S2 | Organ Pipes | Not sure how it works
S3 | “Gauze Tones” - Beats | Not available
S5 | Doppler effect
S7 | Galton’s Whistle and Sensitive Flame | Not available
S8 | Periodic Pulses | Not clear if it works
S9 | The Siren
S10 | Resonance | Not available
S12 | Tuning Forks | Unidentified - no image - possibly unavailable

## Light and Waves
No. | Name | Status
L1 | Linear Lens Arrays | Broken - missing components "lens"
L2 | Lens Aberrations
L3 | Lenses and Mirrors | Missing components "mirrors"
L4 | Panels | Broken
L5 | Case of Lenses
L8 | Unknown | Missing components
L12 | Mechanical Refraction | Not clear - possibly not available
L13 | Refraction Tank | Not in good shape / not sure if it still works
L14 | Double Refraction | Not clear
L15 | Multiple Reflections
L17 | Semi-Circle Mirrors
L19 | Lightbox Optical Set
L22 | Total Reflection | Not clear - possibly not available
L30 | Adjustable Prism | Not available
L32 | Direct Vision Prism
L33 | Unknown | Not clear - possibly not available
L35 | Prism on Stand
L36 | Prism Tower | Not clear
L41 | Vibrating String
L42 | Resonator
L43 | Chladni Plate
L44 | Point Source Interference | Not clear
L45 | Newton's Rings | Not available
L47 | Longitudinal waves | Missing component "long slinky"
L49 | Torsional Waves
L50 | Array of Glass Plates
L51 | Polarisation
L53 | Interfering Waves | Not clear - possibly not available
L55 | Crova's Disc
L56 | Lamp on Rod | Not clear
L57 | Ultraviolet Lamp
L58 | Small UV Lamp | Missing component "light source"
L59 | Light Boxes
L61 | Directed Lamp
L62 | Helium-Neon Laser | Not available
L66 | Photoelasticimetry
L67 | Light Polarisation | Broken
L69 | Rectilinear Propagation
L71 | Unknown | Not available
L76 | Absorption and Reflection | Not clear how it works or if it works
L77 | Colour Rendering
L78 | Colour Mixture
L79 | Colour Wheel
L80 | Coloured Slats